Risk Assessment form 					Date: 2026-06-16

- Risk Assessment for cycling of a battery cell

- Simon Kunc (skunc@kth.se)

- There are acceptable risks associated with this experiment, but no actions are needed. Before starting the experiment, verify that the monitoring of the temperature and all the safety features in the code is working. Also, make sure that a fire extinguisher and protective gloves is nearby in case of a cell breaking.

- State the premises in which the activity is taking place.

The experiments will take place in the lab Hållfasthetslära Laboratorium at KTH Solid Mechanics, Teknikringen 8D. The equipment used (that is of interest for this risk assessment) is a small battery cell (LiPO 3,7 V 110 mAh – BEC) and a potentiostat (Ivium CompactStat2.h). The experiments will be done without supervision in a closed room, fully automated.

- Short description of the outcome and the activity

The outcome of the experiment is to produce data for the force during the cycling and to verify the holder and experimental method.

To achieve this, the battery cell will be mounted in the holder and the equipment for monitoring the force and temperature (which also acts as a safety feature, meaning that it stops the experiment if the temperature gets too high) along with the equipment for cycling will be mounted on to the battery cell. The experiment is started (meaning that the cycling starts) with code in Python and once up and running, it will be monitored remotely while collecting data. The cell will be tested under normal operational conditions (3,0 – 4,2 V with 110 mA) and once x numbers of cycles are completed, the code shuts the potentiostat of and the experiment is completed.

- Products included in the Risk Assessment

No hazardous chemicals are used in this experiment. The main product in the experiment is a battery cell (LiPO 3,7 V 110 mAh – BEC) and a potentiostat (Ivium CompactStat2.h). Under normal conditions the chemicals in the cell are enclosed but the cell may present risk due to short circuit, overheating, swelling, leakage or fire. The potentiostat, which is an electrical device, present no risk.

- Chemicals inherent risk

The chemical's inherent risk is for this experiment is low. This is because the chemicals are enclosed in the cell and the cell will be tested under normal conditions. No abuse of the cell will be carried out.

- Level of exposure

The level of exposure for this experiment is low. As mentioned above, the chemicals are enclosed in the battery cell, and it will be tested under normal operational conditions.

- Ventilation

The ventilation needed for this experiment is Level of protection 2 – Ventilation hood.

- Biological materials

No biologic materials will be used.

- Possible interaction effects and reactions

Possible interaction effects are mainly electrical and thermal. A short circuit of the cell can cause damage to the cell which in turn can cause a fire or leaking of electrolyte.

- Requirements regarding premises and equipment in premises

The requirements regarding the premises and equipment are a stable bench, fire extinguisher, protective gloves and a ventilated area.

- Specification of storage

No specification of storage needed.

- Do not store listed products together with

Not applicable.

- Requirements regarding protective signs

“Battery cycling experiment in process”.

- Personal protective equipment

If the cell breaks, gloves are needed.

- Describe the technical equipment

A computer, cables, Arduino with sensor (monitoring the temperature), potentiostat (cycling the cell), battery cell, pressure sensor (monitoring the force) and holder.

- Environment

The experiment itself does not affect environment. However, if the used cell breaks, an incorrect disposal of it can affect the environment.

- Waste management

If everything goes according to the plans in the experiments, no waste will be produced. However, should a cell break, it will be disposed in accordance with the lab manager.

- First aid and readiness to accident, fire and overflow

A first aid kid kit is in the designated room. If the cell catches fire, the fire extinguisher should be used to put it out. If the cell starts to leak electrolyte, the lab manager will be informed. For every imaginable accident, the power to the potentiostat should be turned off.

- Hazardous actions

Short circuit of battery terminals. Usage of a damaged cell. Tampering with the cell while the potentiostat is cycling.

- Special instructions to other personnel

Do not touch the setup. If the cell starts to smoke, contact the responsible for the experiment.

- Final risk assessment of the method

For this experiment, there are some risks, but they are acceptable.

- Documents

A technical data sheet for the battery cell can be provided if needed.

- Planned actions

Before starting the experiment, verify that the monitoring of the temperature and all the safety features in the code is working. Also, make sure that a fire extinguisher and protective gloves is nearby in case of a cell breaking.

- Approved Risk assessment, signatures, and dates

| Artem Kulachenko |  |  |
| --- | --- | --- |
| Supervisor, printed name | Signature | Date: |
| Simon Kunc |  |  |
| Title, printed name | Signature | Date: |